## Thermal Capacity (MW)
SSE Thermal Capacity
| Last updated | 31 March 2021
MW
| GB Gas and oil-fired generation | 3837
| Irish Gas and oil-fired generation | 1292
| Coal fired generation | zero
In Development
| Keadby 2 | 893
| Waste to Energy | 25
SSE Thermal Capacity
|  | Location | Technology / Fuel | Ownership - SSE share shown here | Partners | Total Installed Capacity | SSE Share of Capacity as at 31 March 2021 | Eligible for Capacity Mechanism Contracts | Commercial Year | Achieved Average Gross Efficiency | Corrected LHV Efficiency | Notes
| GB Gas- and oil-fired capacity |  |  |  |  | MW | MW |  |  | year ended 31 March 2021 | year ended 31 March 2021
| Keadby 1 | England | CCGT | 100% |  | 732 | 732 | Y | 1996 | 46.27% | 55%
| Keadby OCGT | England | OCGT | 100% |  | 23 | 23 | Y | 2000 | 26.87% | 32.4% | Corrected LHV Efficiency is a theoretical design efficiency
| Medway | England | CCGT | 100% |  | 735 | 735 | Y | 1995 | 45.58% | 54.5%
| Peterhead | Scotland | CCGT | 100% |  | 1180 | 1180 | Y | Repowered 2000 | 46.85% | 56.6%
| Seabank | England | CCGT | 50% | CK Infrastructure Holdings Limited | 1234 | 617 | Y | 2000 | 47.87% | 55.3%
| Marchwood | England | CCGT | 50% | Munich Re | 920 | 460 | Y | 2010 | 56.48% | 58.5%
| Burghfield | England | CCGT | 100% |  | 45 | 45 | Y | 1999 | 34.97% | 40.2% | Corrected LHV Efficiency is a theoretical design efficiency
| Chickerell | England | OCGT | 100% |  | 45 | 45 | Y | 1999 | 33.46% | 38.3% | Corrected LHV Efficiency is a theoretical design efficiency
| Total |  |  |  |  | 4914 | 3837
Irish Gas and Oil-fired capacity
| Great Island | ROI | CCGT | 100% |  | 464 | 464 | Y | 2014 | 48.32% | 57.6%
| Tarbert | ROI | Oil | 100% |  | 620 | 620 | Y | 1970/1976 | 32.63% | 32-36% | Corrected LHV Efficiency is a theoretical design efficiency
| Rhode | ROI | OCGT | 100% |  | 104 | 104 | Y | 2004 | 31.39% | 34.3% | Corrected LHV Efficiency is a theoretical design efficiency
| Tawnaghmore | ROI | OCGT | 100% |  | 104 | 104 | Y | 2003 | 31.23% | 34.3% | Corrected LHV Efficiency is a theoretical design efficiency
| Total |  |  |  |  | 1292 | 1292
Coal-fired capacity
| Ferrybridge | England | Coal | 100% |  | closed | 0 | N | Closed March 2016 | n/a | n/a | Was 2GW when fully operational
| Fiddlers Ferry | England | Coal | 100% |  | closed | 0 | N | Closed March 2020 | n/a | n/a | Was 2GW when fully operational
| Total |  |  |  |  | 0 | 0
In Development
| Keadby 2 | England | CCGT | 100% |  | 893 | 893 | Y | na | n/a | 63% | In construction - delivery due 2022
| Slough | England | Waste to Energy | 50% | Copenhagen Infrastructure Partners | 50 | 25 | Y | na |  |  | Site preparation woks underway expected to be operational by 2025.
Recent Disposals
| Ferrybridge Multifuel | England | Waste to Energy | 50% | Wheelabrator | 69 | 34 | Y | 2015 | n/a | circa 30% | Sold October 2020
| Ferrybridge Multifuel 2 | England | Waste to Energy | 50% | Wheelabrator | 69 | 34 | Y | 2019 | n/a | circa 30% | Sold October 2020
| Skelton Grange | England | Waste to Energy | 50% | Wheelabrator | 44 | 22 | N | na |  |  | Development project, sold October 2020
Notes
1 | Prepared on best endeavours basis
2 | Capacities are as per published Transmission Entry Capacity (TEC)
3 | Achieved Average Gross Efficiency is based on net electricity output / total energy input . Balancing mechanism activity means the plant is sometimes required to run at less than maximum efficiency
4 | Correct LHV efficiency % based on sent out energy and corrected for site-specific ambient conditions
5 | CCGT : Combined Cycle Gas Turbine; OCGT Open Cycle Gas Turbine
6 | Some smaller sites are not part of SSE's Thermal operations and are operated by SSEN Distribution or SSE Enterprise and are detailed below
| Thermal Capacity Operated by other SSE Businesses | Location |  | Ownership | Partners | Total Installed Capacity (MW) | SSE share of capacity as at 31/03/2021 | Eligible for Capacity Mechanism Contracts
| Lerwick - Distribution | Scotland | OCGT | 100% |  | 67 | 67 | Y
| Island Diesels - Distribution | Scotland | Island Diesels | 100% |  | 70.6 | 70.6 | Y
| Diesels - Distribution | England | Small Diesels | 100% |  | 17.5 | 17.5 | Y
| CEPs & Chieppenham- Enterprise | England | OCGT | 100% |  | 19 | 19 | Y

## Generation (GWh)
| SSE Thermal Generation Output | Notes | Full year to 31/03/2021 | Full year to 31/03/2020 | Full year to 31/03/2019 | Full Year to 31/03/2018
| Thermal Summary Totals |  | GWh | GWh | GWh | GWh
GB
| Keadby | 100% | 1863 | 1725.3 | 2567.5135 | 2437
| Medway | 100% | 2219 | 1306.5 | 1671.0721 | 2204.8
| Peterhead | 100% | 3363 | 3821.6 | 4739.6933 | 3369.8
| Seabank | 100% PPAs as per contractual arrangments | 2897 | 2322 | 3402.8852 | 5601.3
| Marchwood | 100% PPAs as per contractual arrangments | 4786 | 3623.6 | 5754.795 | 5213.4
| OCGTs - Burghfield and Chickerell | 100% | 37 | 28.6 | 25.6 | 21
| CHPs | closed by April 2019 | na | na | 56.7 | 189.7
| Total GB Thermal Business Generation Output (GWh) |  | 15166 | 12827.6 | 18218.2591 | 19037
Ireland
| Great Island CCGT |  | 2172 | 2327.3 | 1795.48 | 2706.6333
| Tarbert |  | 247 | 102.8 | 54.8 | 25.8147
| Rhode |  | 11 | 5.5 | 6.7 | 5.1059
| Tawnaghmore |  | 3 | 0.7 | 4 | 1.5911
| Total Irish thermal output GWh |  | 2433 | 2436.3 | 1860.98 | 2739.145
| Total SSE Thermal Business Generation Ouput (GWh) |  | 17599 | 15263.9 | 20079.2391 | 21776.145
Energy from Waste
| Ferrybridge Multifuel | 50% of output | 251 | 395 | 293.7 | 289
Coal-fired Output
| Fiddlers Ferry | site closed 31 March 2020 | 0 | 1945.6 | 579.2 | 1461.9
Notes
1 | Prepared on best endeavours basis
2 | Generation ouput GB is total net exported Metered Data @ NBP (sometimes estimated at period end). Eire is data final as published by Single Electricity Market Operator
Plant operated by Distribution & Enterprise
| Lerwick & island diesle |  | 92 | 98.8 | 104 | 113
| Small & island diesels |  | 66 | 22 | 1 | 1
| CEPs & Chippenham |  | not material | not material | not material | not material
| Total Thermal Generation including Coal, Multifuel, Lerwick & Island Diesles |  | 18008 | 17725.3 | 21057.1391 | 23641.045

## GB Cap Mech Payments (£m)
SSE Capacity Payment Schedule
| Last Updated | 2020-03-31
[6 empty] | Oct to Sep | Renewables | Thermal | Apr - Mar | Renewables | Thermal
[6 empty] | Contract Year | Contract Year | Contract Year | SSE Financial year | SSE Financial year | SSE Financial year
| 2017/18 | T-1 | Contract price £/Kw |  | Capacity (MW) | 5034.7 | 872.6 | 4162.1 | -
|  |  | 6.95 |  | Value (£million) | 34.9912 | 6.0646 | 28.9266 | 19.2451 | 3.3355 | 15.9096
| 2018/19 | T-4 | 19.4 | p | Capacity (MW) | 4994 | 872.6 | 4121.4 | -
|  |  | 20.8285 | a | Value (£m) | 104.0176 | 18.175 | 85.8426 | 57.2097 | 9.9962 | 47.2135
|  | T-1 | 6 | p | Capacity (MW) | 1045 | 0 | 1045 | -
|  |  | 6 | a | Value (£m) | 6.27 | 0 | 6.27 | 19.1945 | 2.7291 | 16.4655
|  | Total |  |  | Capacity (MW) | 4994 | 872.6 | 4121.4 | -
[5 empty] | Value (£m) | 110.2876 | 18.175 | 92.1126 | 76.4042 | 12.7253 | 63.6789
| 2019/20 | T-4 | 18 | p | Capacity (MW) | 4745 | 872.6 | 3872.4
|  |  | 19.2747 | a | Value (£m) | 91.4583 | 16.8191 | 74.6393 | 97.11 | 17.4292 | 79.6808
|  | T-1 |  |  | Capacity (MW)
[5 empty] | Value (£m) | 0 |  |  | 2.8215 |  | 2.8215
|  | Total |  |  | Capacity (MW) | 4745 | 872.6 | 3872.4 | -
[5 empty] | Value (£m) | 91.4583 | 16.8191 | 74.6393 | 99.9315 | 17.4292 | 82.5023
| 2020/21 | T-4 | 22.5 | p | Capacity (MW) | 4830 | 872.6 | 3957.4 | -
|  |  | 24.38 | a | Value (£million) | 117.7554 | 21.274 | 96.4814 | 105.9217 | 19.2693 | 86.6524
|  | T-1 |  |  | Capacity (MW)
Value (£m)
|  | Total |  |  | Capacity (MW) | 4830 | 872.6 | 3957.4 | -
[5 empty] | Value (£m) | 117.7554 | 21.274 | 96.4814 | 105.9217 | 19.2693 | 86.6524
| 2021/22 | T-4 | 8.4 | p | Capacity (MW) | 4746 | 872.6 | 3873.4 | -
|  |  | 9.21 | e | Value (£m) | 43.7107 | 8.0366 | 35.674 | 77.0308 | 13.9934 | 63.0373
|  | T-1 | 45 |  | Capacity (MW) | 74.9 | 74.9 |  | -
|  |  | 45 |  | Value (£m) | 3.3705 | 3.3705 |  | 1.8538 | 1.8538 | 0
|  | Total |  |  | Capacity (MW) | 4746 | 872.6 | 3873.4 | -
[5 empty] | Value (£m) | 47.0812 | 11.4071 | 35.674 | 78.8846 | 15.8472 | 63.0373
| 2022/23 | T-4 | 6.44 | p | Capacity (MW) | 3359 | 872.6 | 2486.4 | -
|  |  | 6.83 | e | Value (£m) | 22.942 | 5.9599 | 16.9821 | 32.2879 | 6.8944 | 25.3935
|  | T-1 |  |  | Capacity (MW)
[5 empty] | Value (£m) |  |  |  | 1.5167 | 1.5167 | 0
|  | Total |  |  | Capacity (MW) | 3359 | 872.6 | 2486.4 | -
[5 empty] | Value (£million) | 22.942 | 5.9599 | 16.9821 | 33.8046 | 8.4111 | 25.3935
| 2023/24 | T-4 | 15.97 | p | Capacity (MW) | 3322.6 | 872.6 | 2450 | -
|  |  | 17.29 | e | Value (£m) | 57.4478 | 15.0873 | 42.3605 | 41.9202 | 10.9799 | 30.9402
|  | T-1 |  |  | Capacity (MW) |  |  |  | -
[5 empty] | Value (£million) | 0 |  |  | 0
|  | 15 Year 23/24 | 15.97 |  | Capacity (MW) | 803 |  | 803 | -
|  |  | 17.29 |  | Value (£million) | 13.8839 |  | 13.8839 | 7.6361 |  | 7.6361
|  | Total |  |  | Capacity (MW) | 4125.6 | 872.6 | 3253 | -
[5 empty] | Value (£m) | 71.3316 | 15.0873 | 56.2444 | 49.5563 | 10.9799 | 38.5764
| 2024/25 | T-4 | 18 | p | Capacity (MW) | 3337 | 887 | 2450 | -
|  |  | 19.4838 | e | Value (£m) | 65.0174 | 17.2821 | 47.7353 | 61.611 | 16.2944 | 45.3166
|  | T-1 |  |  | Capacity (MW)
Value (£m)
|  | 15 Year 23/24 | 15.97 | p | Capacity (MW) | 803 |  | 803
|  |  | 17.63 | e | Value (£m) | 14.1569 |  | 14.1569 | 14.034 |  | 14.034
|  | 15 Year 24/25 | 18 | p | Capacity (MW) | 24 | 3 | 21
|  |  | 19.4838 | e | Value (£m) | 0.46761 | 0.058451 | 0.40916 | 0.25719 | 0.032148 | 0.22504
|  | Total |  |  | Capacity (MW) | 4164 | 890 | 3274 | -
[5 empty] | Value (£m) | 79.6419 | 17.3406 | 62.3013 | 75.9023 | 16.3266 | 59.5757
| 2025/26 | T-4 |  | p | Capacity (MW) |  |  |  | -
|  |  |  | e | Value (£m) | 0 | 0 | 0 | 29.2578 | 7.777 | 21.4809
|  | T-1 |  |  | Capacity (MW) |  |  |  | -
[5 empty] | Value (£million) | 0 |  |  | 0
|  | 15 Year 23/24 | 15.97 |  | Capacity (MW) | 803 |  | 803 | -
|  |  | 17.9848 |  | Value (£million) | 14.4418 |  | 14.4418 | 14.3136 |  | 14.3136
|  | 15 Year 24/25 | 18 |  | Capacity (MW) | 24 | 3 | 21 | -
|  |  | 19.8735 |  | Value (£million) | 0.47696 | 0.05962 | 0.41734 | 0.47275 | 0.059094 | 0.41366
|  | Total |  |  | Capacity (MW) | 827 | 3 | 824 | -
[5 empty] | Value (£m) | 14.9188 | 0.05962 | 14.8591 | 44.0442 | 7.836 | 36.2081
Notes
1 | Prepared on best endeavours basis
2 | Capacities are in line with de-rating factors issued by the delivery body for each contract year, therefore will not directly match SSE's published station capacities
3 | Contract years are October - September
4 | SSE Financial years are April - March
5 | Contract payments are weighted depending on demand weighting and are calculated by EMRS on behalf of the ESC. Currently assumes 55% weighting Oct - March; 45% weighting Apr - Sept.
6 | Includes SSE share of JV capacity contract income (thermal, renewable and multifuel) , along with Peterhead's contract year 19/20 secured on the secondary market.
7 | c965MW of conventional and pumped storage hydro capacity and c38MW of Wind particpates and have been awarded capacity mechanism contracts (pre- derating adjustment factor)
8 | p (published at time of auction); a (actual based on CPI); e (estimate based on forecast CPI)
9 | More info publishes website link - https://www.emrdeliverybody.com/sitepages/home.aspx.
10 | Due to the temporary suspsension of GB capacity market payments relating to contract yar 2018/19; Sept 2018 to March 2019 payments were received by SSE in its financial year 2019/20.