## Wind (MW)
SSE Operatonal Wind Capacity
Last updated | 31 March 2021
| MW | ROC (MW) | CfD (MW) | RE-FIT (MW)
Onshore (GB) | 1247.4691 | 1369.5691 | 0 | 0
Onshore (NI) | 122.1 | 0 | 0 | 0
Onshore (ROI) | 567.7555 | 0 | 0 | 432.8505
Offshore (GB) - receives double ROCs | 487.2 | 252 | 235.2 | 0
Total Wind Capacity in operation | 2424.5246 | 1621.5691 | 235.2 | 432.8505
Offshore wind awarded AR3 |  |  | 2021
Wind farms | Country | Onshore/Offshore | Installed MW | No. Turbines | Stake | SSE Stake (MW) | JV partner | Partner Stakes (MW) | SSE Operated | ROC contract (MW) - SSE share | ROCS end date | CfD (MW) | Cfd Price £/MWh | CfD end date | Re-Fit (MW) | Re-Fit End Date | Notes
Achany | Scotland | Onshore | 38 | 19 | 100% | 38 | n/a | 0 | Yes | 38 | 2030-06-18 | n/a | n/a | n/a | 0 | n/a
Artfield Fell | Scotland | Onshore | 19.5 | 15 | 100% | 19.5 | n/a | 0 | Yes | 19.5 | 2027-03-31 | n/a | n/a | n/a | 0 | n/a
Balmurrie Fell | Scotland | Onshore | 9.1 | 7 | 100% | 9.1 | n/a | 0 | Yes | 9.1 | 2032-07-03 | n/a | n/a | n/a | 0 | n/a
Bhlaraidh | Scotland | Onshore | 108 | 32 | 100% | 108 | n/a | 0 | Yes | 108 | 2037-03-02 | n/a | n/a | n/a | 0 | n/a | 108MW Grid Connection; ROC at 0.9/MW
Cathkin Braes | Scotland | Onshore | 3 | 1 | 100% | 3 | n/a | 0 | Yes | 3 | 2033-03-22 | n/a | n/a | n/a | 0 | n/a
Clyde (original) | Scotland | Onshore | 349.6 | 152 | 50.1% | 175.1496 | Greencoat 28.2%, GLIL 21.7% | 174.4504 | Yes | 175.1496 | 01.07.31 - 01.08.32 | n/a | n/a | n/a | 0 | n/a
Clyde Extension | Scotland | Onshore | 172.8 | 54 | 50.1% | 86.5728 | Greencoat 28.2%, GLIL 21.7% | 86.2272 | Yes | 86.5728 | 22.10.36 - 23.01.37 | n/a | n/a | n/a | 0 | n/a | ROC at 0.9/MW
Drumderg | Scotland | Onshore | 36.8 | 16 | 100% | 36.8 | n/a | 0 | Yes | 36.8 | 2027-03-31 | n/a | n/a | n/a | 0 | n/a
Dunmaglass | Scotland | Onshore | 94.05 | 33 | 50.1% | 47.1191 | Greencoat 49.9% | 46.9309 | Yes | 47.1191 | 2036-09-13 | n/a | n/a | n/a | 0 | n/a | ROC at 0.9/MW
Fairburn | Scotland | Onshore | 40 | 20 | 100% | 40 | n/a | 0 | Yes | 40 | 2029-10-14 | n/a | n/a | n/a | 0 | n/a
Gordonbush | Scotland | Onshore | 70 | 35 | 100% | 70 | n/a | 0 | Yes | 70 | 2031-12-13 | n/a | n/a | n/a | 0 | n/a
Griffin | Scotland | Onshore | 156.4 | 68 | 100% | 156.4 | n/a | 0 | Yes | 156.4 | 2031-07-05 | n/a | n/a | n/a | 0 | n/a
Calliachar | Scotland | Onshore | 32.2 | 14 | 100% | 32.2 | n/a | 0 | Yes | 32.2 | 2033-03-15 | n/a | n/a | n/a | 0 | n/a
Hadyard Hill | Scotland | Onshore | 119.6 | 51 | 100% | 119.6 | n/a | 0 | Yes | 119.6 | 2027-03-31 | n/a | n/a | n/a | 0 | n/a
Spurness | Scotland | Onshore | 10 | 5 | 100% | 10 | n/a | 0 | Yes | 10 | 2032-10-22 | n/a | n/a | n/a | 0 | n/a
Strathy North | Scotland | Onshore | 67.65 | 33 | 100% | 67.65 | n/a | 0 | Yes | 67.65 | 2035-06-26 | n/a | n/a | n/a | 0 | n/a
Stronelairg | Scotland | Onshore | 227.7 | 66 | 50.1% | 114.0777 | Greencoat 49.9% | 113.6223 | Yes | 114.0777 | 2037-03-31 | n/a | n/a | n/a | 0 | n/a | ROC at 0.9/MW
Tangy | Scotland | Onshore | 12.75 | 15 | 100% | 12.75 | n/a | 0 | Yes | 12.75 | 2027-03-31 | n/a | n/a | n/a | 0 | n/a
Tangy Ext | Scotland | Onshore | 5.95 | 7 | 100% | 5.95 | n/a | 0 | Yes | 5.95 | 2029-03-19 | n/a | n/a | n/a | 0 | n/a
Toddleburn | Scotland | Onshore | 27.6 | 12 | 100% | 27.6 | n/a | 0 | Yes | 27.6 | 2030-02-12 | n/a | n/a | n/a | 0 | n/a
Keadby | England and Wales | Onshore | 68 | 34 | 100% | 68 | n/a | 0 | Yes | 68 | 2033-09-13 | n/a | n/a | n/a | 0 | n/a
Bessy Bell 2 | Northern Ireland | Onshore | 9 | 6 | 100% | 9 | n/a | 0 | Yes | 9 | 2027-03-31 | n/a | n/a | n/a | 0 | n/a
Bessy Bell 1 | Northern Ireland | Onshore | 5 | 10 | 100% | 5 | n/a | 0 | Yes | 5 | 2027-03-31 | n/a | n/a | n/a | 0 | n/a
Glenconway | Northern Ireland | Onshore | 18.4 | 8 | 100% | 18.4 | n/a | 0 | Yes | 18.4 | 2033-03-16 | n/a | n/a | n/a | 0 | n/a
Glenconway 2 | Northern Ireland | Onshore | 27.6 | 12 | 100% | 27.6 | n/a | 0 | Yes | 27.6 | 2033-03-16 | n/a | n/a | n/a | 0 | n/a
Slieve Kirk | Northern Ireland | Onshore | 27.6 | 12 | 100% | 27.6 | n/a | 0 | Yes | 27.6 | 2031-10-26 | n/a | n/a | n/a | 0 | n/a
Tievenameenta | Northern Ireland | Onshore | 34.5 | 15 | 100% | 34.5 | n/a | 0 | Yes | 34.5 | 2036-10-09 | n/a | n/a | n/a | 0 | n/a | ROC at 0.9/MW
Athea | Republic of Ireland | Onshore | 34.35 | 16 | 100% | 34.35 | n/a | 0 | Yes | 0 | n/a | n/a | n/a | n/a | 34.4 | 2028-10-14
Bindoo | Republic of Ireland | Onshore | 48 | 32 | 100% | 48 | n/a | 0 | Yes | 0 | n/a | n/a | n/a | n/a | 48 | 2022-03-15
Boggerah Wind farm | Republic of Ireland | Onshore | 57 | 19 | 47.5% | 27.075 | Craydel ltd 47.5%; 5% other | 29.925 | No | 0 | n/a | n/a | n/a | n/a | 27.9 | 2022-09-01
Coomacheo | Republic of Ireland | Onshore | 41.4 | 18 | 100% | 41.4 | n/a | 0 | Yes | 0 | n/a | n/a | n/a | n/a | 41.2 | 2023-11-01
Coomatalin | Republic of Ireland | Onshore | 6 | 4 | 100% | 6 | n/a | 0 | Yes | 0 | n/a | n/a | n/a | n/a
Corneen | Republic of Ireland | Onshore | 3 | 2 | 100% | 3 | n/a | 0 | Yes | 0 | n/a | n/a | n/a | n/a
Culliagh | Republic of Ireland | Onshore | 11.88 | 18 | 100% | 11.88 | n/a | 0 | Yes | 0 | n/a | n/a | n/a | n/a
Curragh | Republic of Ireland | Onshore | 18.4 | 8 | 100% | 18.4 | n/a | 0 | Yes | 0 | n/a | n/a | n/a | n/a | 18.9 | 2024-10-01
Dromada | Republic of Ireland | Onshore | 28.5 | 19 | 100% | 28.5 | n/a | 0 | Yes | 0 | n/a | n/a | n/a | n/a | 28.5 | 2025-02-27
Dunneill | Republic of Ireland | Onshore | 11.05 | 13 | 100% | 11.05 | n/a | 0 | Yes | 0 | n/a | n/a | n/a | n/a | 11 | 2025-07-26
Galway (CGT) | Republic of Ireland | Onshore | 66 | 22 | 100% | 66 | n/a | 0 | Yes | 0 | n/a | n/a | n/a | n/a | 64 | 2032-06-01
Galway (Cloosh) | Republic of Ireland | Onshore | 108 | 36 | 25% | 27 | Greencoat 75% | 81 | Yes | 0 | n/a | n/a | n/a | n/a | 26.25 | 2032-10-01
Gartnaneane | Republic of Ireland | Onshore | 15 | 10 | 100% | 15 | n/a | 0 | Yes | 0 | n/a | n/a | n/a | n/a
Kingsmountain | Republic of Ireland | Onshore | 25 | 10 | 100% | 25 | n/a | 0 | Yes | 0 | n/a | n/a | n/a | n/a
Knockastanna | Republic of Ireland | Onshore | 6 | 4 | 100% | 6 | n/a | 0 | Yes | 0 | n/a | n/a | n/a | n/a | 6 | 2024-04-01
Leanamore | Republic of Ireland | Onshore | 20.7 | 9 | 100% | 20.7 | n/a | 0 | Yes | 0 | n/a | n/a | n/a | n/a | 20.7 | 2032-12-31
Meentycat | Republic of Ireland | Onshore | 72.4 | 38 | 100% | 72.4 | n/a | 0 | Yes | 0 | n/a | n/a | n/a | n/a
Meentycat (Meenbog Ext) | Republic of Ireland | Onshore | 6.9 | 3 | 100% | 6.9 | n/a | 0 | Yes | 0 | n/a | n/a | n/a | n/a | 6.9 | 2025-03-01
Meentycat (Cark Ext) | Republic of Ireland | Onshore | 9.2 | 4 | 100% | 9.2 | n/a | 0 | Yes | 0 | n/a | n/a | n/a | n/a | 9.2 | 2025-03-01
Midas Windfarm | Republic of Ireland | Onshore | 32.45 | 23 | 49% | 15.9005 | Craydel ltd 51% | 16.5495 | No | 0 | n/a | n/a | n/a | n/a | 15.9005 | 2022-09-01
Mullananalt | Republic of Ireland | Onshore | 7.5 | 5 | 100% | 7.5 | n/a | 0 | Yes | 0 | n/a | n/a | n/a | n/a | 7.5 | 2023-04-26
Rathcahill | Republic of Ireland | Onshore | 12.5 | 5 | 100% | 12.5 | n/a | 0 | Yes | 0 | n/a | n/a | n/a | n/a | 12.5 | 2026-07-01
Richfield | Republic of Ireland | Onshore | 27 | 18 | 100% | 27 | n/a | 0 | Yes | 0 | n/a | n/a | n/a | n/a | 27 | 2021-12-01
Tournafulla 1 | Republic of Ireland | Onshore | 7.5 | 5 | 100% | 7.5 | n/a | 0 | Yes | 0 | n/a | n/a | n/a | n/a | 7.5 | 2022-04-01
Tournafulla 2 | Republic of Ireland | Onshore | 19.5 | 13 | 100% | 19.5 | n/a | 0 | Yes | 0 | n/a | n/a | n/a | n/a | 19.5 | 2023-05-05
Beatrice | Scotland | Offshore | 588 | 84 | 40% | 235.2 | CIP 35%, Red Rock 25% | 352.8 | Yes | 0 | n/a | 235.2 | £140/MWh | 2034-04-30 |  |  | Cfd in 2012 prices to be inflated by CPI
Greater Gabbard | England | Offshore | 504 | 140 | 50% | 252 | RWE 50% | 252 | Yes | 252 | 7 October 2031/ 28 August 2032 | [5 empty] | Double ROC site
Total |  |  | 3578.03 |  |  | 2424.5247 |  | 1153.5053 |  | 1621.5691 |  | 235.2 |  |  | 432.8505
Recent Disposals
Walney | England and Wales | Offshore | 367.2 | 102 | 25.1% | 92.1672 | Orstead 50.1%; OPW 24.8% | 275.0328 | No |  | 2031/32 - Double ROC | [5 empty] | SSE share sold to Greencoat Sept 2020
Slieve Divena 2 | Northern Ireland | Onshore | 18.8 | 8 | 100% | 0 | 100% | 18.8 | Yes |  | 2037-02-16 | [5 empty] | Sold to Greecoate February 2020
Notes
Prepared on best endeavours basis

## Hydro (MW)
SSE Hydro Capacity
Last updated | 31 March 2021
| MW | ROC (MW) | Capacity Mechanism (MW)
Conventional Hydro | 1159.198
Breakdown:
Run of River | 400
Flexible Running | 759 |  | 650
Pumped Storage | 300 | 0 | 300
Total SSE Hydro Capacity | 1459 | 502.448 | 950 MW which is de-rated under cap mech to c.873MW
Hydro Station | Location | Cascade | Installed MW | ROC contract | ROCS end date | Qualifies to Compete for Capacity Mechanism Contract *
Achanalt | Scotland | CONON SHIN AFFRIC BEAULY | 3 | 3 | 2027-03-31
Aigas | Scotland | CONON SHIN AFFRIC BEAULY | 20 | 20 | 2027-03-31
Beannachran | Scotland | CONON SHIN AFFRIC BEAULY | 0.16 | 0.16 | 2027-03-31
Cassley | Scotland | CONON SHIN AFFRIC BEAULY | 10 | 10 | 2027-03-31
Cuileig | Scotland | CONON SHIN AFFRIC BEAULY | 3.2 | 3.2 | 2027-03-31
Culligran Comp Set | Scotland | CONON SHIN AFFRIC BEAULY | 2.1 | 2.1 | 2027-03-31
Culligran Unit 2 | Scotland | CONON SHIN AFFRIC BEAULY | 17 | 17 | 2027-03-31
Deanie | Scotland | CONON SHIN AFFRIC BEAULY | 38 | 0 | n/a | Yes
Duchally | Scotland | CONON SHIN AFFRIC BEAULY | 0.45 | 0.45 | 2027-03-31
Fasnakyle Compset | Scotland | CONON SHIN AFFRIC BEAULY | 7.5 | 7.5 | 2027-03-31
Fasnakyle Power Station | Scotland | CONON SHIN AFFRIC BEAULY | 69 | 0 | n/a | Yes
Grudie Bridge | Scotland | CONON SHIN AFFRIC BEAULY | 18.66 | 18.66 | 2027-03-31
Kilmorack | Scotland | CONON SHIN AFFRIC BEAULY | 20 | 20 | 2027-03-31
Lairg | Scotland | CONON SHIN AFFRIC BEAULY | 3.5 | 3.5 | 2027-03-31
Luichart Dam | Scotland | CONON SHIN AFFRIC BEAULY | 0.085 | 0.085 | 2027-03-31
Luichart Power Station | Scotland | CONON SHIN AFFRIC BEAULY | 34 | 0 | n/a | Yes
Meig Dam | Scotland | CONON SHIN AFFRIC BEAULY | 0.076 | 0.076 | 2027-03-31
Misgeach | Scotland | CONON SHIN AFFRIC BEAULY | 0.35 | 0.35 | 2027-03-31
Mossford | Scotland | CONON SHIN AFFRIC BEAULY | 18.66 | 18.66 | 2027-03-31
Mullardoch | Scotland | CONON SHIN AFFRIC BEAULY | 2.4 | 2.4 | 2027-03-31
Orrin | Scotland | CONON SHIN AFFRIC BEAULY | 18 | 18 | 2027-03-31
Orrin Dam | Scotland | CONON SHIN AFFRIC BEAULY | 0.26 | 0.26 | 2027-03-31
Shin | Scotland | CONON SHIN AFFRIC BEAULY | 18.6 | 18.6 | 2027-03-31
Shin Diversion | Scotland | CONON SHIN AFFRIC BEAULY | 0.1 | 0.1 | 2027-03-31
Torr Achilty | Scotland | CONON SHIN AFFRIC BEAULY | 15 | 15 | 2027-03-31
Vaich | Scotland | CONON SHIN AFFRIC BEAULY | 0.32 | 0.32 | 2027-03-31
Ceannacroc | Scotland | GREAT GLEN FOYERS | 20 | 20 | 2027-03-31
Cluanie | Scotland | GREAT GLEN FOYERS | 0.3 | 0.3 | 2027-03-31
Dundreggan Dam | Scotland | GREAT GLEN FOYERS | 0.16 | 0.16 | 2027-03-31
Foyers Falls | Scotland | GREAT GLEN FOYERS | 5.2 | 5.2 | 2027-03-31
Glendoe | Scotland | GREAT GLEN FOYERS | 100 | 100 | 2028-03-31
Glenmoriston | Scotland | GREAT GLEN FOYERS | 37 | 0 | n/a | Yes
Invergarry | Scotland | GREAT GLEN FOYERS | 20 | 20 | 2027-03-31
Invergarry Dam | Scotland | GREAT GLEN FOYERS | 0.237 | 0.237 | 2027-03-31
Kingairloch | Scotland | GREAT GLEN FOYERS | 3.5 | 3.5 | 2027-03-31
Livishie | Scotland | GREAT GLEN FOYERS | 15 | 15 | 2027-03-31
Loyne | Scotland | GREAT GLEN FOYERS | 0.55 | 0.55 | 2027-03-31
Morar | Scotland | GREAT GLEN FOYERS | 0.75 | 0.75 | 2027-03-31
Mucomir (inc Compset) | Scotland | GREAT GLEN FOYERS | 1.95 | 0 | n/a
Quoich | Scotland | GREAT GLEN FOYERS | 18.05 | 18.05 | 2027-03-31
Quoich Dam | Scotland | GREAT GLEN FOYERS | 0.35 | 0.35 | 2027-03-31
Cashlie | Scotland | TUMMEL BREADALBANE | 11 | 11 | 2027-03-31
Clunie Dam | Scotland | TUMMEL BREADALBANE | 0.15 | 0.15 | 2027-03-31
Clunie Power Station | Scotland | TUMMEL BREADALBANE | 61.2 | 0 | n/a | Yes
Cuaich | Scotland | TUMMEL BREADALBANE | 2.5 | 2.5 | 2027-03-31
Dalchonzie | Scotland | TUMMEL BREADALBANE | 4 | 4 | 2027-03-31
Errochty | Scotland | TUMMEL BREADALBANE | 75 | 0 | n/a | Yes
Finlarig | Scotland | TUMMEL BREADALBANE | 16.5 | 16.5 | 2027-03-31
Gaur | Scotland | TUMMEL BREADALBANE | 7.9 | 7.9 | 2027-03-31
Lednock | Scotland | TUMMEL BREADALBANE | 3 | 3 | 2027-03-31
Loch Ericht | Scotland | TUMMEL BREADALBANE | 2.2 | 2.2 | 2027-03-31
Lochay Compset | Scotland | TUMMEL BREADALBANE | 2 | 2 | 2027-03-31
Lochay FishPass | Scotland | TUMMEL BREADALBANE | 0.04 | 0.04 | 2027-03-31
Lochay Power Station | Scotland | TUMMEL BREADALBANE | 45 | 0 | n/a | Yes
Lubreoch | Scotland | TUMMEL BREADALBANE | 4 | 4 | 2027-03-31
Pitlochry | Scotland | TUMMEL BREADALBANE | 15 | 15 | 2027-03-31
Pitlochry Compset | Scotland | TUMMEL BREADALBANE | 0.05 | 0.05 | 2027-03-31
Rannoch | Scotland | TUMMEL BREADALBANE | 44.1 | 0 | n/a | Yes
St Fillans | Scotland | TUMMEL BREADALBANE | 16.83 | 16.83 | 2027-03-31
Stronuich | Scotland | TUMMEL BREADALBANE | 0.18 | 0.18 | 2027-03-31
Trinafour | Scotland | TUMMEL BREADALBANE | 0.55 | 0.55 | 2027-03-31
Tummel | Scotland | TUMMEL BREADALBANE | 34 | 0 | n/a | Yes
Truim compset | Scotland | TUMMEL BREADALBANE |  |  | n/a
Allt na Lairige | Scotland | SLOY AWE | 6 | 6 | 2027-03-31
Awe Barrage | Scotland | SLOY AWE | 0.886 | 0.886 | 2027-03-31
Clachan | Scotland | SLOY AWE | 40 | 0 | n/a | Yes
Inverawe | Scotland | SLOY AWE | 25 | 0 | n/a | Yes
Kilmelford Compset | Scotland | SLOY AWE | 0.08 | 0.08 | 2027-03-31
Kilmelford | Scotland | SLOY AWE | 2 | 2 | 2027-03-31
Loch Gair | Scotland | SLOY AWE | 6 | 6 | 2027-03-31
Lussa | Scotland | SLOY AWE | 2.4 | 2.4 | 2027-03-31
Lussa Comp Set | Scotland | SLOY AWE |  |  | n/a
Nant | Scotland | SLOY AWE | 15 | 15 | 2027-03-31
Sloy | Scotland | SLOY AWE | 152.5 | 0 | n/a | Yes
Sron Mor | Scotland | SLOY AWE | 5 | 5 | 2027-03-31
Striven | Scotland | SLOY AWE | 8 | 8 | 2027-03-31
Tralaig | Scotland | SLOY AWE | 0.084 | 0.084 | 2027-03-31
Chliostair | Scotland | SMALL HYDRO | 1.1 | 1.1 | 2027-03-31
Claddoch | Scotland | SMALL HYDRO | 0.21 | 0.21 | 2027-03-31
Gisla | Scotland | SMALL HYDRO | 0.72 | 0.72 | 2027-03-31
Kerry Falls | Scotland | SMALL HYDRO | 1.25 | 1.25 | 2027-03-31
Loch Dubh | Scotland | SMALL HYDRO | 1.2 | 1.2 | 2027-03-31
Nostie Bridge | Scotland | SMALL HYDRO | 1.3 | 1.3 | 2027-03-31
Nostie Comp Set | Scotland | SMALL HYDRO |  |  | n/a
Storr Lochs | Scotland | SMALL HYDRO | 1.8 | 1.8 | 2027-03-31
Tobermory | Scotland | SMALL HYDRO | 0 | 0 | 2027-03-31
Total Conventional Hydro |  |  | 1159.198 | 502.448
Foyers | Scotland | Pump Storage | 300 | n/a | n/a | 300
Pump Storage |  |  | 300
Notes
Prepared on best endeavours basis
Registered capacity will be higher that GB capacity market capacity due to its de-rating factor applied each year

## Output (GWh)
SSE Renewable Generation Output | Notes | Full year to 31/03/2021 | Full year to 31/03/2020 | Full year to 31/03/2019 | Full Year to 31/03/2018
Renewable Summary Totals |  | GWh | GWh | GWh | GWh
Conventional Hydro |  | 3475.8 | 3742.8 | 3317.6 | 3170.6
Foyers Gross Output | Site refurbishment outage Novemeber 2019 - May 2020 (unit 2) and August 2020 (unit 1) | 244.3 | 127 | 225.4909 | 259.293
Onshore |  | 4012.8 | 4579.9 | 4729.2318 | 4589.535
Offshore |  | 1845 | 2243.7 | 1439.1 | 1319
GB onshore constrained off output NOT included above |  | 592.3 | 687.3 | 687.19 | 405.8
GB offshore constrained off output NOT included above |  | 1.1 | 2.1 | 0 | 0
TOTAL OUTPUT INCLUDING WIND CONSTRAINED |  | 10171.3 | 11382.8 | 10398.6127 | 9744.228
HYDRO |  | GWh | GWh | GWh | GWh
Conventional Hydro Output |  | 3475.8 | 3742.8 | 3317.6 | 3170.6
Foyers Gross Generation | Site refurbishment outage November 2019 - May 2020 (unit 2) and August 2020 (unit 1) | 244.3 | 127 | 225.4909 | 259.293
ONSHORE |  | GWh | GWh | GWh | GWh
Achany |  | 82.8 | 80.5 | 76.8 | 81.9
Artfield Fell & Balmurrie Fell |  | 42.3 | 37.5 | 45.6 | 56.1
Bhlaraidh |  | 186.1 | 200.7 | 193.5 | 152.8
Clyde | 30% Stake in Clyde sold 18 March 2016, further 5% sold August 2017 and another 14.9% May 2018 | 597.3 | 657.5 | 673.3 | 805.485
Cathkin Braes |  | 7.9 | 7.9 | 7.8 | 9.3
Drumderg |  | 60.5 | 69.2 | 59.9 | 72
Dunmaglass | 49.9% sold to Greencoat in March 2019 | 109.9 | 121.3 | 257.8 | 261.3
Fairburn |  | 78.7 | 89 | 80.4 | 90.8
Gordonbush |  | 134 | 173.8 | 153.9 | 156.3
Griffin & Calliacher |  | 256 | 307.9 | 287.6 | 361.9
Hadyard Hill |  | 184.1 | 197.5 | 166.1 | 212.1
Keadby |  | 162.9 | 170 | 157.7 | 180.8
Spurness |  | 41.4 | 42.4 | 35 | 49.1
Strathy North |  | 105.5 | 121.3 | 116.1 | 166.6
Stronelairg | 49.9% sold to Greencoat in March 2019 | 230.8 | 280.2 | 476.5
Tangy |  | 34.2 | 44.1 | 37.1 | 42
Toddleburn |  | 62.4 | 75.4 | 65 | 73.5
Tilbury | Sold June 2017 | na | na | na | 2
Total UK mainland |  | 2376.8 | 2676.2 | 2890.1 | 2773.985
Bessy Bell |  | 32.5 | 34.7 | 30.4 | 33.3
Glenconway |  | 93.7 | 118.2 | 80.7 | 75.5
Slieve Divena II | Volumes to February 2020 date when sold to Greencoat | na | 51.5 | 49.9 | 48.8
Slieve Kirk |  | 70.4 | 74.4 | 62.1 | 51.6
Tievenameenta |  | 85.8 | 93.8 | 92 | 97
Total Northern Ireland |  | 282.4 | 372.6 | 315.1 | 306.2
Athea |  | 75.8 | 81.3 | 76.8 | 73.8
Bindoo |  | 95.7 | 105.4 | 101.3 | 106.1
Boggerah | ROI JV operated by 3rd party | 69.9 | 80.8 | 73.6364 | 76.6
Coomacheo |  | 99.6 | 112.8 | 101.7 | 107.5
Coomatalin |  | 13.8 | 14.9 | 13.9 | 20.9
Corneen |  | 10.6 | 9.6 | 8.2 | 7.6
Culliagh |  | 27.9 | 32 | 30 | 33.4
Curragh |  | 52 | 61 | 51.5 | 53.3
Dromada |  | 66.4 | 76.4 | 65.2 | 72.8
Dunneill |  | 19.7 | 27.3 | 26.8 | 26.9
Galway (CGT) - Uggool |  | 173.6 | 199.9 | 205.4 | 198.1
Galway (CGT) - Cloosh | SSE owned 50% stake until March 2019 when stake reduced to 25% through disposal | 80.6 | 88.9 | 182.95 | 146.45
Gartnaneane |  | 38.6 | 40.9 | 37.8 | 35.3
Kingsmountain |  | 52.3 | 58.5 | 59.7 | 59.6
Knockstanna |  | 12.8 | 14 | 14.4 | 18.7
Leanamore |  | 55.1 | 61.1 | 50.8 | 10.5
Midas | ROI JV operated by 3rd party | 36.3 | 45.8 | 31.7455 | 37
Meenbog |  | 150.1 | 39.2 | 41.6 | 45.2
Meentycat |  | 37.2 | 177.3 | 170.7 | 187.1
Mullananalt |  | 19.7 | 20.5 | 19.2 | 19.9
Rathcahill |  | 40.9 | 44.7 | 40.5 | 44.5
Richfield |  | 68.9 | 71.4 | 63.7 | 64.6
Tournafulla 1 & 2 |  | 56.1 | 67.4 | 56.5 | 63.5
Total Ireland |  | 1353.6 | 1531.1 | 1524.0318 | 1509.35
SSE Total Onshore Wind |  | 4012.8 | 4579.9 | 4729.2318 | 4589.535
OFFSHORE |  | GWh | GWh | GWh | GWh
Beatrice | On line early 2019 | 858.6 | 953.4 | 341 | na
Walney | Sold September 2020 | 105.3 | 351.1 | 308.6 | 381.8
Greater Gabbard |  | 881.1 | 939.2 | 788.3 | 935.2
Hunterston | Test site decommissioned |  | 0 | 1.2 | 2
Total Offshore Wind |  | 1845 | 2243.7 | 1439.1 | 1319
Total Wind |  | 5857.8 | 6823.6 | 6168.3318 | 5908.535
Notes
Electricity output based on SSE 100% share of wholly owned sites and % share of joint ventures
Wind ouput is at each station is net of constrained off generation and all actual renewable output is recorded post transmission loss adjustment factor; ROCs generation is based on entire station output
Biomass output at Slough is excluded and as now part of SSE Enterprise

## Pipeline (MW)
SSE Wind Development Pipeline
Project | Technology | Country | MW | SSE Share (%) | SSE Share (MW) | Stage | Partner | Notes
Seagreen | Offshore | Scotland | 1075 | 49% | 526.75 | In construction | Total
Dogger Bank A | Offshore | England | 1200 | 40% | 480 | In construction | Equinor & Eni
Dogger Bank B | Offshore | England | 1200 | 40% | 480 | In construction | Equinor & Eni
Dogger Bank C | Offshore | England | 1200 | 50% | 600 | Working towards FID | Equinor
2086.75
Arklow Bank | Offshore | Republic of Ireland | 520 | 100% | 520 | Partially Consented | n/a
Seagreen 1A | Offshore | Scotland | 360 | 49% | 176.4 | Consented | Total
696.4
Berwick Bank and Marr Bank | Offshore | Scotland | Up to 4,150 | 100% | Up to 4,150 | Requiring consent | n/a | Previously known as Seagreen 2&3
North Falls | Offshore | England | 504 | 50% | 252 | Requiring consent | RWE | Greater Gabbard Extension
Up to 4,402
Viking | Onshore | Scotland | 443 | 100% | 443 | In construction | n/a
Gordonbush Ext | Onshore | Scotland | 38 | 100% | 38 | In construction | n/a
Lenalea | Onshore | Republic of Ireland | 31 | 50% | 15.5 | In construction | Colitte | Award a RES contract in August
481
Yellow River | Onshore | Republic of Ireland | 105 | 100% | 105 | Consented | n/a
Tangy | Onshore | Scotland | 57 | 100% | 57 | Consented | n/a | Repowering of exisitng SSE site
162
Strathy South | Onshore | Scotland | 208 | 100% | 208 | Requiring consent | n/a
Cloiche | Onshore | Scotland | 155 | 100% | 155 | Requiring consent | n/a
Other | Onshore | - | 200 | 100% | 200 | Requiring consent | n/a
563
Other GB | Onshore | Great Britain | c250 | - | c250 | Future Prospect | n/a
Other NI | Onshore | Northern Ireland | c50 | - | c50 | Future Prospect | n/a
Other ROI | Onshore | Republic of Ireland | c250 | - | c250 | Future Prospect | n/a
Braymore Point | Offshore | Republic of Ireland | 800 | 100% | 800 | Future Prospect | n/a
Celtic Sea Array | Offshore | Republic of Ireland | 800 | 100% | 800 | Future Prospect | n/a
Coire Glas | Pumped storage | Great Britain | up to 1,500 | 100% | up to 1,500 | Future Prospect | n/a | Consented but expected to require revenue stabilisation mechanism
c3650
Notes
Wind pipeline projects and capacities continue to be revised as projects and technology develops

## Load Factor test won't publish (hidden)
| SSE Renewable Generation Output | Comments | Full year to 31/03/2020 | Full year to 31/03/2019 | Full Year to 31/03/2018
| Renewable Summary Totals |  | GWh | GWh | GWh
| Conventional Hydro |  | 3742.8 | 3317.6 | 3170.6
| Foyers Gross Output |  | 127 | 225.4909 | 259.293
| Onshore |  | 4316.1 | 4479.5318 | 4311.735
| Offshore |  | 2243.7 | 1439.1 | 1319
| GB onshore constrained off output NOT included above |  | 687.3 | 687.19 | 405.8
| GB offshore constrained off output NOT included above |  | 2.1 | 0 | 0
| TOTAL OUTPUT INCLUDING WIND CONSTRAINED |  | 11119 | 10148.9127 | 9466.428
| HYDRO |  | GWh | GWh | GWh
| Conventional Hydro Output |  | 3742.8 | 3317.6 | 3170.6
| Foyers Gross Generation |  | 127 | 225.4909 | 259.293
Capacity | ONSHORE |  | GWh | GWh | GWh | Load factor
38 | Achany |  | 80.5 | 76.8 | 81.9 | 24.18% | 23.07% | 24.6%
28.6 | Artfield Fell & Balamurrie |  | 37.5 | 45.6 | 56.1 | 14.97% | 18.2% | 22.39%
108 | Bhlaraidh |  | 200.7 | 193.5 | 152.8 | 21.21% | 20.45% | 16.15%
3 | Cathkin Braes |  | 7.9 | 7.8 | 9.3 | 30.06% | 29.68% | 35.39%
262 | Clyde | 30% Stake in Clyde sold 18 March 2016, further 5% sold August 2017 and another 14.9% May 2018 | 657.5 | 673.3 | 805.485 | 28.65% | 29.34% | 35.1%
36.8 | Drumderg | 1 | 69.2 | 59.9 | 72 | 21.47% | 18.58% | 22.33%
47.1191 | Dunmaglass |  | 121.3 | 257.8 | 261.3 | 29.39% | 62.46% | 63.31% | sold down
40 | Fairburn |  | 89 | 80.4 | 90.8 | 25.4% | 22.95% | 25.91%
70 | Gordonbush |  | 173.8 | 153.9 | 156.3 | 28.34% | 25.1% | 25.49%
188.6 | Griffin & Calliacher |  | 307.9 | 287.6 | 361.9 | 18.64% | 17.41% | 21.9%
119.6 | Hadyard Hill |  | 197.5 | 166.1 | 212.1 | 18.85% | 15.85% | 20.24%
10 | Spurness |  | 42.4 | 35 | 49.1 | 48.4% | 39.95% | 56.05%
67.65 | Strathy North |  | 121.3 | 116.1 | 166.6 | 20.47% | 19.59% | 28.11%
114.0777 | Stronelairg |  | 280.2 | 476.5 |  | 28.04% | 47.68% | 0%
18.7 | Tangy |  | 44.1 | 37.1 | 42 | 26.92% | 22.65% | 25.64%
27.6 | Toddleburn |  | 75.4 | 65 | 73.5 | 31.19% | 26.88% | 30.4%
? | Tilbury | Sold June 17 | na | na | 2
68 | Keadby |  | 170 | 157.7 | 180.8 | 28.54% | 26.47% | 30.35%
1247.7468 | Total UK mainland |  | 2506.2 | 2732.4 | 2593.185 | 22.93% | 25% | 23.72%
14 | Bessy Bell |  | 34.7 | 30.4 | 33.3 | 28.29% | 24.79% | 27.15%
46 | Glenconway |  | 118.2 | 80.7 | 75.5 | 29.33% | 20.03% | 18.74%
27.6 | Slieve Kirk |  | 74.4 | 62.1 | 51.6 | 30.77% | 25.68% | 21.34%
18 | Slieve Divena II | Volumes to Feb 2020 date when sold to Greencoat | 51.5 | 49.9 | 48.8 | 32.66% | 31.65% | 30.95%
34.5 | Tievenameenta |  | 93.8 | 92 | 97 | 31.04% | 30.44% | 32.1%
140.1 | Total Northern Ireland |  | 278.8 | 223.1 | 209.2 | 22.72% | 18.18% | 17.05%
34.35 | Athea |  | 81.3 | 76.8 | 73.8 | 27.02% | 25.52% | 24.53%
48 | Bindoo |  | 105.4 | 101.3 | 106.1 | 25.07% | 24.09% | 25.23%
27.93 | Boggerah | ROI JV operated by 3rd party | 80.8 | 73.6364 | 76.6 | 33.02% | 30.1% | 31.31%
41.4 | Coomacheo |  | 112.8 | 101.7 | 107.5 | 31.1% | 28.04% | 29.64%
6 | Coomatalin |  | 14.9 | 13.9 | 20.9 | 28.35% | 26.45% | 39.76%
3 | Corneen |  | 9.6 | 8.2 | 7.6 | 36.53% | 31.2% | 28.92%
11.88 | Culliagh |  | 32 | 30 | 33.4 | 30.75% | 28.83% | 32.09%
18.4 | Curragh |  | 61 | 51.5 | 53.3 | 37.84% | 31.95% | 33.07%
28.5 | Dromada |  | 76.4 | 65.2 | 72.8 | 30.6% | 26.12% | 29.16%
11.05 | Dunneill |  | 27.3 | 26.8 | 26.9 | 28.2% | 27.69% | 27.79%
66 | Galway (CGT) - Uggool |  | 199.9 | 205.4 | 198.1 | 34.58% | 35.53% | 34.26%
27 | Galway (CGT) - Cloosh |  | 88.9 | 182.95 | 146.45 | 37.59% | 77.35% | 61.92% | sell down
15 | Gartnaneane |  | 40.9 | 37.8 | 35.3 | 31.13% | 28.77% | 26.86%
25 | Kingsmountain |  | 58.5 | 59.7 | 59.6 | 26.71% | 27.26% | 27.21%
6 | Knockstanna |  | 14 | 14.4 | 18.7 | 26.64% | 27.4% | 35.58%
20.7 | Leanamore |  | 61.1 | 50.8 | 10.5 | 33.7% | 28.01% | 5.79%
6.9 | Meenbog |  | 39.2 | 41.6 | 45.2 | 64.85% | 68.82% | 74.78% | ??
81.6 | Meentycat |  | 177.3 | 170.7 | 187.1 | 24.8% | 23.88% | 26.17%
15.9 | Midas | ROI JV operated by 3rd party | 45.8 | 31.7455 | 37 | 32.88% | 22.79% | 26.56%
7.5 | Mullananalt |  | 20.5 | 19.2 | 19.9 | 31.2% | 29.22% | 30.29%
12.5 | Rathcahill |  | 44.7 | 40.5 | 44.5 | 40.82% | 36.99% | 40.64%
27 | Richfield |  | 71.4 | 63.7 | 64.6 | 30.19% | 26.93% | 27.31%
27 | Tournafulla |  | 67.4 | 56.5 | 63.5 | 28.5% | 23.89% | 26.85%
Tournafulla 2
568.61 | Total Ireland |  | 1531.1 | 1524.0318 | 1509.35 | 30.74% | 30.6% | 30.3%
| SSE Total Onshore Wind |  | 4316.1 | 4479.5318 | 4311.735
OFFSHORE
235.2 | Beatrice | On line early 2019 | 953.4 | 341 | na | 46.27% | 16.55%
92 | Walney | Sold Sept 2020 | 351.1 | 308.6 | 381.8 | 43.57% | 38.29% | 47.37%
252 | Greater Gabbard |  | 939.2 | 788.3 | 935.2 | 42.55% | 35.71% | 42.36%
| Hunterston | test site decommissioned |  | 1.2 | 2
| Total Offshore Wind |  | 2243.7 | 1439.1 | 1319
| Total Wind |  | 6559.8 | 5918.6318 | 5630.735
Notes
Electricity output based on SSE 100% share of wholly owned sites and % share of joint ventures
| Actual generated output accounts is post loss adjusted factor reflected of generation paid; ROCS payments based on entire output |  | 58 | 68 | 90
Biomass output at Slough is excluded and as now part of SSE Enterprise
Notes
Load factor estimates [caveatxxxx]

## GB Cap Mech Payments (£m)
SSE Capacity Payment Schedule
| Last Updated | 2020-03-31
[6 empty] | Oct to Sep | Renewables | Thermal | Apr - Mar | Renewables | Thermal
[6 empty] | Contract Year | Contract Year | Contract Year | SSE Financial year | SSE Financial year | SSE Financial year
| 2017/18 | T-1 | Contract price £/Kw |  | Capacity (MW) | 5034.7 | 872.6 | 4162.1 | -
|  |  | 6.95 |  | Value (£million) | 34.9912 | 6.0646 | 28.9266 | 19.2451 | 3.3355 | 15.9096
| 2018/19 | T-4 | 19.4 | p | Capacity (MW) | 4994 | 872.6 | 4121.4 | -
|  |  | 20.8285 | a | Value (£m) | 104.0176 | 18.175 | 85.8426 | 57.2097 | 9.9962 | 47.2135
|  | T-1 | 6 | p | Capacity (MW) | 1045 | 0 | 1045 | -
|  |  | 6 | a | Value (£m) | 6.27 | 0 | 6.27 | 19.1945 | 2.7291 | 16.4655
|  | Total |  |  | Capacity (MW) | 4994 | 872.6 | 4121.4 | -
[5 empty] | Value (£m) | 110.2876 | 18.175 | 92.1126 | 76.4042 | 12.7253 | 63.6789
| 2019/20 | T-4 | 18 | p | Capacity (MW) | 4745 | 872.6 | 3872.4
|  |  | 19.2747 | a | Value (£m) | 91.4583 | 16.8191 | 74.6393 | 97.11 | 17.4292 | 79.6808
|  | T-1 |  |  | Capacity (MW)
[5 empty] | Value (£m) | 0 |  |  | 2.8215 |  | 2.8215
|  | Total |  |  | Capacity (MW) | 4745 | 872.6 | 3872.4 | -
[5 empty] | Value (£m) | 91.4583 | 16.8191 | 74.6393 | 99.9315 | 17.4292 | 82.5023
| 2020/21 | T-4 | 22.5 | p | Capacity (MW) | 4830 | 872.6 | 3957.4 | -
|  |  | 24.38 | a | Value (£million) | 117.7554 | 21.274 | 96.4814 | 105.9217 | 19.2693 | 86.6524
|  | T-1 |  |  | Capacity (MW)
Value (£m)
|  | Total |  |  | Capacity (MW) | 4830 | 872.6 | 3957.4 | -
[5 empty] | Value (£m) | 117.7554 | 21.274 | 96.4814 | 105.9217 | 19.2693 | 86.6524
| 2021/22 | T-4 | 8.4 | p | Capacity (MW) | 4746 | 872.6 | 3873.4 | -
|  |  | 9.21 | e | Value (£m) | 43.7107 | 8.0366 | 35.674 | 77.0308 | 13.9934 | 63.0373
|  | T-1 | 45 |  | Capacity (MW) | 74.9 | 74.9 |  | -
|  |  | 45 |  | Value (£m) | 3.3705 | 3.3705 |  | 1.8538 | 1.8538 | 0
|  | Total |  |  | Capacity (MW) | 4746 | 872.6 | 3873.4 | -
[5 empty] | Value (£m) | 47.0812 | 11.4071 | 35.674 | 78.8846 | 15.8472 | 63.0373
| 2022/23 | T-4 | 6.44 | p | Capacity (MW) | 3359 | 872.6 | 2486.4 | -
|  |  | 6.83 | e | Value (£m) | 22.942 | 5.9599 | 16.9821 | 32.2879 | 6.8944 | 25.3935
|  | T-1 |  |  | Capacity (MW)
[5 empty] | Value (£m) |  |  |  | 1.5167 | 1.5167 | 0
|  | Total |  |  | Capacity (MW) | 3359 | 872.6 | 2486.4 | -
[5 empty] | Value (£million) | 22.942 | 5.9599 | 16.9821 | 33.8046 | 8.4111 | 25.3935
| 2023/24 | T-4 | 15.97 | p | Capacity (MW) | 3322.6 | 872.6 | 2450 | -
|  |  | 17.29 | e | Value (£m) | 57.4478 | 15.0873 | 42.3605 | 41.9202 | 10.9799 | 30.9402
|  | T-1 |  |  | Capacity (MW) |  |  |  | -
[5 empty] | Value (£million) | 0 |  |  | 0
|  | 15 Year 23/24 | 15.97 |  | Capacity (MW) | 803 |  | 803 | -
|  |  | 17.29 |  | Value (£million) | 13.8839 |  | 13.8839 | 7.6361 |  | 7.6361
|  | Total |  |  | Capacity (MW) | 4125.6 | 872.6 | 3253 | -
[5 empty] | Value (£m) | 71.3316 | 15.0873 | 56.2444 | 49.5563 | 10.9799 | 38.5764
| 2024/25 | T-4 | 18 | p | Capacity (MW) | 3337 | 887 | 2450 | -
|  |  | 19.4838 | e | Value (£m) | 65.0174 | 17.2821 | 47.7353 | 61.611 | 16.2944 | 45.3166
|  | T-1 |  |  | Capacity (MW)
Value (£m)
|  | 15 Year 23/24 | 15.97 | p | Capacity (MW) | 803 |  | 803
|  |  | 17.63 | e | Value (£m) | 14.1569 |  | 14.1569 | 14.034 |  | 14.034
|  | 15 Year 24/25 | 18 | p | Capacity (MW) | 24 | 3 | 21
|  |  | 19.4838 | e | Value (£m) | 0.46761 | 0.058451 | 0.40916 | 0.25719 | 0.032148 | 0.22504
|  | Total |  |  | Capacity (MW) | 4164 | 890 | 3274 | -
[5 empty] | Value (£m) | 79.6419 | 17.3406 | 62.3013 | 75.9023 | 16.3266 | 59.5757
| 2025/26 | T-4 |  | p | Capacity (MW) |  |  |  | -
|  |  |  | e | Value (£m) | 0 | 0 | 0 | 29.2578 | 7.777 | 21.4809
|  | T-1 |  |  | Capacity (MW) |  |  |  | -
[5 empty] | Value (£million) | 0 |  |  | 0
|  | 15 Year 23/24 | 15.97 |  | Capacity (MW) | 803 |  | 803 | -
|  |  | 17.9848 |  | Value (£million) | 14.4418 |  | 14.4418 | 14.3136 |  | 14.3136
|  | 15 Year 24/25 | 18 |  | Capacity (MW) | 24 | 3 | 21 | -
|  |  | 19.8735 |  | Value (£million) | 0.47696 | 0.05962 | 0.41734 | 0.47275 | 0.059094 | 0.41366
|  | Total |  |  | Capacity (MW) | 827 | 3 | 824 | -
[5 empty] | Value (£m) | 14.9188 | 0.05962 | 14.8591 | 44.0442 | 7.836 | 36.2081
Notes
1 | Prepared on best endeavours basis
2 | Capacities are in line with de-rating factors issued by the delivery body for each contract year, therefore will not directly match SSE's published station capacities
3 | Contract years are October - September
4 | SSE Financial years are April - March
5 | Contract payments are weighted depending on demand weighting and are calculated by EMRS on behalf of the ESC. Currently assumes 55% weighting Oct - March; 45% weighting Apr - Sept.
6 | Includes SSE share of JV capacity contract income (thermal, renewable and multifuel) , along with Peterhead's contract year 19/20 secured on the secondary market.
7 | c965MW of conventional and pumped storage hydro capacity and c38MW of Wind particpates and have been awarded capacity mechanism contracts (pre- derating adjustment factor)
8 | p (published at time of auction); a (actual based on CPI); e (estimate based on forecast CPI)
9 | More info publishes website link - https://www.emrdeliverybody.com/sitepages/home.aspx.
10 | Due to the temporary suspsension of GB capacity market payments relating to contract yar 2018/19; Sept 2018 to March 2019 payments were received by SSE in its financial year 2019/20.